## 15 year model
|  |  |  | T1410 | T6320 | T7320 | PTMP Client | PTMP Master | PTP | Tower Costs
Number of Meter Gateways | 3300 |  |  | 3300
Helpers per MG | 4
Number of Helpers | 13200 |  |  | 6600 | 6600
Avg MG per PTP/PTMP Cluster | 6
PTP/PTMP Clusters | 550
PTP/PTMP Served Gateways | 550 |  |  |  |  | 550
% of links PTMP range | 75
% of links PTP only range | 25
PTMP Client Radios | 412.5 | [5 empty] | 412.5
Avg PTMP Clients per Master | 4
PTMP Master Radios | 103.125 | [6 empty] | 103.125
PTP Links | 137.5
PTP radios | 275 | [7 empty] | 275
Tower Mounted (PTP+PTMP) radios | 240.625
Mast Mounted Radios (clear of trees) | 550
Totals
|  |  |  | 9900 | 6600 | 550 | 412.5 | 103.125 | 275 | 20 | 17840.625
|  |  |  | 1400 | 4400 | 6000 | 4000 | 10000 | 5000 | 100000
50256250 |  |  |  | 13860000 | 29040000 | 3300000 | 1650000 | 1031250 | 1375000 | 2000000 | 52256250
|  | Tower Costs | 2000000
Tower Construction Cost (150-200 foot tower)
100000
New Towers Needed for Tropos Architecture
20
|  | Tropos Control | Server License (10 Licenses included) | License per device (router) | Control for Network |  |  | Tropos Routers | 50256250
|  |  | 3995 | 199 | Total |  |  | Towers | 2000000
|  |  | 7990 | 3546180 | 3554170 |  |  | Tropos Control | 3554170
[8 empty] | Design, Engineering Support, Project Management, network tuning | 8920312.5 |  | 3919218.75
|  | Tropos Professional Services | Cost per device | Total |  |  |  | Installation (optional) | 8920312.5
|  | Design, Engineering Support, Project Management, network tuning | 500 | 8920312.5 |  |  |  | Tropos Support | 1516796.875 | 75167841.875 | 66247529.375
|  | Installation (optional) | 500 | 8920312.5 |  |  |  | Replacement Cost | 261281.25 | 24893093.75
100060935.625
|  | Tropos Support | Cost per device (per 1 yr contract) | Total/yr
|  | Standard Support Single Radio (includes 1410 and PTP/PTMP radios) | 75 | 801796.875
|  | Dual Radio | 100 | 715000
1516796.875
[9 empty] | Tropos Routers | 50256250
|  | Replacement Cost | field failure rate (based on MTBF and 1B field operational hrs) | estimated number of devices replaced per year | average cost per device | annual replacement cost (off warranty) |  |  | Towers | 2000000
|  | Field Failure Rate | 0.5% | 89.2031 | 2929.0594 | 261281.25 | 1778078.125 |  | Tropos Control | 3554170
[9 empty] | Design, Engineering Support, Project Management, network tuning | 8920312.5
|  | Cost of Cellular Modems for 3300 collectors | Cost of data plans per month (average data) | Cost of data plans per month (high data) |  |  |  |  | Installation (optional) | 8920312.5
|  | 1980000 | 49500 | 165000 |  |  |  |  | Tropos Support | 22751953.125
[9 empty] | Replacement Cost | 3919218.75
|  |  | Cost of data plans per year (average data) | Cost of data plans per year (high data) | [5 empty] | 100322216.875
|  |  | 594000 | 1980000
15 year model
|  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Total
Cost of Cellular Modem |  | Tropos | 75167841.875 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 100060935.625 | 96000 | 96 | MB per day per meter at 15 min read (1kb per read
600 |  | Public Wireless Network (Average Data Use) | 2574000 | 594000 | 594000 | 594000 | 594000 | 2574000 | 594000 | 594000 | 594000 | 594000 | 594000 | 2574000 | 594000 | 594000 | 594000 | 14850000 |  | 2880 | =data per month in mb
|  | Public Wireless Network (High Data Use) | 3960000 | 1980000 | 1980000 | 1980000 | 1980000 | 3960000 | 1980000 | 1980000 | 1980000 | 1980000 | 1980000 | 3960000 | 1980000 | 1980000 | 1980000 | 35640000 |  | 2.88 | =data per month in GB
Cost per month of M2M plan - Avg Data Use (60Mb/mo/collector)
15
Cost per month of M2M plan - High Data Use (
50
| Backhaul Network | Leased Line Replacement | Year 1: Susbstation Automation; Year 2: total
Tropos | 100060935.625 | - | Year 1: 12000000; Year 2: 112060935.625
Public Wireless Network (Average Data Use) | 14850000 | 43200000 | Year 1: 60000000; Year 2: 118050000; Year 3: 1.0534
Public Wireless Network (High Data Use) | 35640000 | 43200000 | Year 1: 60000000; Year 2: 138840000; Year 3: 1.239; Year 4: 0.80712
| AMI Backhaul (Alt = Cellular) | Substation Backhaul (Alt = Leased Lines) | Year 1: Susbstation Automation (Alt = Wired); Year 2: Distribution Automation (Alt = Private WiMAX); Year 3: Mobile Workforce Data (Alt = Cellular); Year 5: total
Tropos | 100 | - | Year 1: 11.7978; Year 2: 23.5956; Year 3: -; Year 5: 135.3934
Best Alternative Network (AMI Two Reads Per Day) | 14.841 | 16.1901 | Year 1: 49.9696; Year 2: 90.9251; Year 3: 4.4973; Year 5: 176.423; Year 6: 1.303
Best Alternative Network (AMI 15 Minute Interval Reads) | 35.6183 | 32.3803 | Year 1: 49.9696; Year 2: 90.9251; Year 3: 4.4973; Year 5: 213.3905; Year 6: 1.5761
100060935.625
|  | Leased Line Replacement Model | Year 1: Savings per month; Year 2: Savings per year; Year 3: Savings over 15 years; Year 4: Savings over 20 years
Hypothetical 1000 distribution substations |  | Number of Substations
800 connected by leased line |  | 150 | Year 1: 90000; Year 2: 1080000; Year 3: 16200000; Year 4: 21600000
Different levels of replaced leased lines shown |  | 300 | Year 1: 180000; Year 2: 2160000; Year 3: 32400000; Year 4: 43200000
Cost per leased line per month |  | 450 | Year 1: 270000; Year 2: 3240000; Year 3: 48600000; Year 4: 64800000
600
Substation Automation Communications
|  | Number of Distribution Substations | Number of Tropos 1410 Bridges Necessary to Connect Devices | Cost of Tropos Devices | Cost of Tropos Support | Cost of Tropos Control Licenses | Cost of Services | Total Tropos Costs | Annual Cost | Cost of Trenching Alone | Annual Cost x 15 | Tropos Costs
Cost of trenching in average substation 100x1x1 trench |  | 200 | 3000 | 1800000 | 75000 | 297000 | 1500000 | 3597000 | 75000 | 20000000 | 1125000 | 4722000
100000 |  | 500 | 7500 | 4500000 | 187500 | 742500 | 3750000 | 8992500 | 187500 | 50000000 | 2812500 | 11805000
|  | 800 | 12000 | 7200000 | 300000 | 1188000 | 6000000 | 14388000 | 300000 | 80000000 | 4500000 | 18888000
Number of devices per substation to automate
15
Cost of Tropos 1410 Client
600
Support on 1410 Bridge
25
Tropos Control License for 1410 Bridge
99
Distiribution Automation Model |  | WiMax
Tower Construction Costs (150-200 ft tower) |  | Number of Distribution Substations out of which to run DA applications | Towers Needed (assume use of existing towers) | tower costs for wimax | total feeder IEDs to automate - client units needed | cost of client units | Base stations per substation (assume 4 per tower) | Base Station Costs | NMS/Tropos Control Licenses | Support/yr | Professional Services | 15 year support | WiMAX Costs
100000 |  | 200 | 120 | 12000000 | 6000 | 9000000 | 800 | 4400000 | 753200 | 210000 | 3000000 | 3150000 | 32303200
Cost of WiMax Base Station |  | 500 | 420 | 42000000 | 15000 | 22500000 | 2000 | 11000000 | 1883000 | 406500 | 7500000 | 6097500 | 90980500 | 207980500
5500 |  | 800 | 720 | 72000000 | 24000 | 36000000 | 3200 | 17600000 | 3012800 | 840000 | 12000000 | 12600000 | 153212800
Cost of WiMax Client Unit
1500 |  | Tropos | Tropos Needs 100 towers total for design | Tower Costs with Tropos (already accounted for) | total feeder IEDs to automate - client units needed | cost of client units | Base Station units (already accounted for in Tropos) | Base Station Costs (already accounted for) | NMS/Tropos Control Licenses | Support/yr |  |  | Tropos Costs
|  | 200 | 0 | 0 | 6000 | 3600000 | 0 | 0 | 594000 | 150000 | 3000000 | 2250000 | 9444000
Towers per substation for full WiMax coverage |  | 500 | 10 | 0 | 15000 | 9000000 | 0 | 0 | 1485000 | 375000 | 7500000 | 5625000 | 23610000
1 |  | 800 | 20 | 0 | 24000 | 14400000 | 0 | 0 | 2376000 | 600000 | 12000000 | 9000000 | 37776000
Number of towers already built and used in Tropos Design
80
Assumed number of feeders per substation |  |  | Year 5: 22000
5 |  |  | Year 5: 45000
Assumed number of devices to automate per feeder |  |  | Year 5: 67000
6
Cost of Tropos Client Units
600
Mobile Workforce Data Plan Replacement |  | Number of Mobile Workers Who Need Access | Year 1: Monthly Expense of Data Plans Saved; Year 2: Annual Savings from Expense of Data Plans; Year 3: 15 year savings
|  | 200 | Year 1: 10000; Year 2: 120000; Year 3: 1800000
Cost of Enterprise Data Plan on Verizon Wireless 5GB data per month |  | 500 | Year 1: 25000; Year 2: 300000; Year 3: 4500000
50 |  | 800 | Year 1: 40000; Year 2: 480000; Year 3: 7200000
Selling Services to Municipalities
|  | Amount per month | Year 1: Amount per year; Year 2: Amount over 15 years
Wilkes Barre - paid to Frontier | Conservative | 60000 | Year 1: 720000; Year 2: 10800000
3900 | Aggressive | 150000 | Year 1: 1800000; Year 2: 27000000
per citizen per month conservative
0.1
Penetration Rate
0.15
Population Served
4000000
per citizen per month aggressive
0.25
15 year cost
Total Costs of Public Network and other Tech to do what Tropos does | 193220500
Minimal Deployment | 75953200

## 20 year model
|  |  |  | T1410 | T6320 | T7320 | PTMP Client | PTMP Master | PTP | Tower Costs
Number of Meter Gateways | 3300 |  |  | 3300
Helpers per MG | 4
Number of Helpers | 13200 |  |  | 6600 | 6600
Avg MG per PTP/PTMP Cluster | 6
PTP/PTMP Clusters | 550
PTP/PTMP Served Gateways | 550 |  |  |  |  | 550
% of links PTMP range | 75
% of links PTP only range | 25
PTMP Client Radios | 412.5 | [5 empty] | 412.5
Avg PTMP Clients per Master | 4
PTMP Master Radios | 103.125 | [6 empty] | 103.125
PTP Links | 137.5
PTP radios | 275 | [7 empty] | 275
Tower Mounted (PTP+PTMP) radios | 240.625
Mast Mounted Radios (clear of trees) | 550
Totals
|  |  |  | 9900 | 6600 | 550 | 412.5 | 103.125 | 275 | 20 | 17840.625
|  |  |  | 1400 | 4400 | 6000 | 4000 | 10000 | 5000 | 100000
50256250 |  |  |  | 13860000 | 29040000 | 3300000 | 1650000 | 1031250 | 1375000 | 2000000 | 52256250
|  | Tower Costs | 2000000
Tower Construction Cost (150-200 foot tower)
100000
New Towers Needed for Tropos Architecture
20
|  | Tropos Control | Server License (10 Licenses included) | License per device (router) | Control for Network |  |  | Tropos Routers | 100512500
|  |  | 3995 | 199 | Total |  |  | Towers | 2000000
|  |  | 7990 | 3546180 | 3554170 |  |  | Tropos Control | 3554170
[8 empty] | Design, Engineering Support, Project Management, network tuning | 8920312.5 |  | 3919218.75
|  | Tropos Professional Services | Cost per device | Total |  |  |  | Installation (optional) | 8920312.5
[8 empty] | Install 2 | 4460156.25
|  | Design, Engineering Support, Project Management, network tuning | 500 | 8920312.5 |  |  |  | Tropos Support | 1516796.875 | 129884248.125 | 120963935.625
|  | Installation (optional) | 500 | 8920312.5 |  |  |  | Replacement Cost | 261281.25 | 33783484.375
163667732.5
|  | Tropos Support | Cost per device (per 1 yr contract) | Total/yr
|  | Standard Support Single Radio (includes 1410 and PTP/PTMP radios) | 75 | 801796.875
|  | Dual Radio | 100 | 715000
|  |  |  | 1516796.875 | 30335937.5
[7 empty] | 4703062.5 |  | Tropos Routers | 100512500
|  | Replacement Cost | field failure rate (based on MTBF and 1B field operational hrs) | estimated number of devices replaced per year | average cost per device | annual replacement cost (off warranty) |  |  | Towers | 2000000
|  | Field Failure Rate | 0.5% | 89.2031 | 2929.0594 | 261281.25 | 1778078.125 |  | Tropos Control | 3554170
[9 empty] | Design, Engineering Support, Project Management, network tuning | 8920312.5
|  | Cost of Cellular Modems for 3300 collectors | Cost of data plans per month (average data) | Cost of data plans per month (high data) |  |  |  |  | Installation (optional) | 13380468.75
|  | 1980000 | 49500 | 165000 |  |  |  |  | Tropos Support | 30335937.5
[9 empty] | Replacement Cost | 5225625
|  |  | Cost of data plans per year (average data) | Cost of data plans per year (high data) | [5 empty] | 163929013.75
|  |  | 594000 | 1980000
20 year model
|  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6* | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12* | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18* | Year 19 | Year 20* | Total
Cost of Cellular Modem |  | Tropos | 75167841.875 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 1778078.125 | 52034578.125 | 159207826.25 | 96000 | 96 | MB per day per meter at 15 min read (1kb per read
600 |  | Public Wireless Network (Average Data Use) | 2574000 | 594000 | 594000 | 594000 | 594000 | 2574000 | 594000 | 594000 | 594000 | 594000 | 594000 | 2574000 | 594000 | 594000 | 594000 | 594000 | 594000 | 2574000 | 594000 | 594000 | 19800000 |  | 2880 | =data per month in mb
|  | Public Wireless Network (High Data Use) | 3960000 | 1980000 | 1980000 | 1980000 | 1980000 | 3960000 | 1980000 | 1980000 | 1980000 | 1980000 | 1980000 | 3960000 | 1980000 | 1980000 | 1980000 | 1980000 | 1980000 | 3960000 | 1980000 | 1980000 | 47520000 |  | 2.88 | =data per month in GB
Cost per month of M2M plan - Avg Data Use (60Mb/mo/collector)
15 |  |  | Year 20*: * (assume full network refresh at 20 years)
Cost per month of M2M plan - High Data Use ( |  |  | Year 20*: * assume full cellular network refresh every 6 years
50
| Backhaul Network | Leased Line Replacement | Year 1: Susbstation Automation; Year 2: total
Tropos | 159207826.25 | - | Year 1: 12000000; Year 2: 171207826.25
Public Wireless Network (Average Data Use) | 14850000 | 43200000 | Year 1: 60000000; Year 2: 118050000; Year 3: 0.68951
Public Wireless Network (High Data Use) | 35640000 | 43200000 | Year 1: 60000000; Year 2: 138840000; Year 3: 0.81094; Year 4: 1.2331
| Backhaul Network | Leased Line Replacement | Year 1: Susbstation Automation; Year 2: Distribution Automation; Year 3: Mobile Workforce Data Plan Replacement; Year 4: Municipal Services Offset; Year 5: total
Tropos | 159207826.25 | - | Year 1: 19117500; Year 2: 38235000; Year 3: -; Year 5: 216560326.25
Public Wireless Network (AMI Two Reads Per Day) | 14850000 | 16200000 | Year 1: 50000000; Year 2: 93013000; Year 3: 6000000; Year 4: 14400000; Year 5: 194463000; Year 6*: 0.89796
Public Wireless Network (AMI 15 Minute Interval Reads) | 35640000 | 32400000 | Year 1: 50000000; Year 2: 93013000; Year 3: 6000000; Year 4: 14400000; Year 5: 231453000; Year 6*: 1.0688
|  | Leased Line Replacement Model | Year 1: Savings per month; Year 2: Savings per year; Year 3: Savings over 15 years; Year 4: Savings over 20 years
Hypothetical 1000 distribution substations |  | Number of Substations
800 connected by leased line |  | 150 | Year 1: 90000; Year 2: 1080000; Year 3: 16200000; Year 4: 21600000
Different levels of replaced leased lines shown |  | 300 | Year 1: 180000; Year 2: 2160000; Year 3: 32400000; Year 4: 43200000
Cost per leased line per month |  | 450 | Year 1: 270000; Year 2: 3240000; Year 3: 48600000; Year 4: 64800000
600
Substation Automation Communications
|  | Number of Distribution Substations | Year 1: Number of Tropos 1410 Bridges Necessary to Connect Devices; Year 2: Cost of Tropos Devices*; Year 3: Cost of Tropos Support; Year 4: Cost of Tropos Control Licenses; Year 5: Cost of Services*; Year 6*: Total Tropos Costs one time; Year 7: Annual Cost; Year 8: Cost of Trenching Alone; Year 9: Annual Cost x 20; Year 10: Tropos Costs
Cost of trenching in average substation 100x1x1 trench |  | 200 | Year 1: 3000; Year 2: 3600000; Year 3: 75000; Year 4: 297000; Year 5: 2250000; Year 6*: 6147000; Year 7: 75000; Year 8: 20000000; Year 9: 1500000; Year 10: 7647000
100000 |  | 500 | Year 1: 7500; Year 2: 9000000; Year 3: 187500; Year 4: 742500; Year 5: 5625000; Year 6*: 15367500; Year 7: 187500; Year 8: 50000000; Year 9: 3750000; Year 10: 19117500
|  | 800 | Year 1: 12000; Year 2: 14400000; Year 3: 300000; Year 4: 1188000; Year 5: 9000000; Year 6*: 24588000; Year 7: 300000; Year 8: 80000000; Year 9: 6000000; Year 10: 30588000
* (assume full network refresh at 20 years)
Number of devices per substation to automate |  |  | Year 5: *Assume initial services @500 for install and with refresh it would only be 250
15
Cost of Tropos 1410 Client
600
Support on 1410 Bridge
25
Tropos Control License for 1410 Bridge
99
Distiribution Automation Model |  | WiMax
Tower Construction Costs (150-200 ft tower) |  | Number of Distribution Substations out of which to run DA applications | Year 1: Towers Needed (assume use of existing towers); Year 2: tower costs for wimax; Year 3: total feeder IEDs to automate - client units needed; Year 4: cost of client units; Year 5: Base stations per substation (assume 4 per tower); Year 6*: Base Station Costs; Year 7: NMS/Tropos Control Licenses; Year 8: Support/yr; Year 9: Professional Services; Year 10: 20 year support; Year 11: WiMAX Costs
100000 |  | 200 | Year 1: 120; Year 2: 12000000; Year 3: 6000; Year 4: 9000000; Year 5: 800; Year 6*: 4400000; Year 7: 753200; Year 8: 210000; Year 9: 3000000; Year 10: 4200000; Year 11: 33353200
Cost of WiMax Base Station |  | 500 | 420 | 42000000 | 15000 | 22500000 | 2000 | 11000000 | 1883000 | 406500 | 7500000 | 8130000 | 93013000 | 210013000
5500 |  | 800 | Year 1: 720; Year 2: 72000000; Year 3: 24000; Year 4: 36000000; Year 5: 3200; Year 6*: 17600000; Year 7: 3012800; Year 8: 840000; Year 9: 12000000; Year 10: 16800000; Year 11: 157412800
Cost of WiMax Client Unit
1500 |  | Tropos | Year 1: Tropos Needs 100 towers total for design; Year 2: Tower Costs with Tropos (already accounted for); Year 3: total feeder IEDs to automate - client units needed; Year 4: cost of client units*; Year 5: Base Station units (already accounted for in Tropos); Year 6*: Base Station Costs (already accounted for); Year 7: NMS/Tropos Control Licenses; Year 8: Support/yr; Year 9: Professional Services*; Year 11: Tropos Costs
|  | 200 | Year 1: 0; Year 2: 0; Year 3: 6000; Year 4: 7200000; Year 5: 0; Year 6*: 0; Year 7: 594000; Year 8: 150000; Year 9: 4500000; Year 10: 3000000; Year 11: 15294000
Towers per substation for full WiMax coverage |  | 500 | Year 1: 10; Year 2: 0; Year 3: 15000; Year 4: 18000000; Year 5: 0; Year 6*: 0; Year 7: 1485000; Year 8: 375000; Year 9: 11250000; Year 10: 7500000; Year 11: 38235000
1 |  | 800 | Year 1: 20; Year 2: 0; Year 3: 24000; Year 4: 28800000; Year 5: 0; Year 6*: 0; Year 7: 2376000; Year 8: 600000; Year 9: 18000000; Year 10: 12000000; Year 11: 61176000
*(assume tropos network refresh at 20 years)
Number of towers already built and used in Tropos Design |  |  | Year 9: *500 Initial, 250 for refresh
80
Assumed number of feeders per substation |  |  | Year 5: 22000
5 |  |  | Year 5: 45000
Assumed number of devices to automate per feeder |  |  | Year 5: 67000
6
Cost of Tropos Client Units
600
Mobile Workforce Data Plan Replacement |  | Number of Mobile Workers Who Need Access | Year 1: Monthly Expense of Data Plans Saved; Year 2: Annual Savings from Expense of Data Plans; Year 3: 20 year savings
|  | 200 | Year 1: 10000; Year 2: 120000; Year 3: 2400000
Cost of Enterprise Data Plan on Verizon Wireless 5GB data per month |  | 500 | Year 1: 25000; Year 2: 300000; Year 3: 6000000
50 |  | 800 | Year 1: 40000; Year 2: 480000; Year 3: 9600000
Selling Services to Municipalities
|  | Amount per month | Year 1: Amount per year; Year 2: Amount over 20 years
Wilkes Barre - paid to Frontier | Conservative | 60000 | Year 1: 720000; Year 2: 14400000
3900 | Aggressive | 150000 | Year 1: 1800000; Year 2: 36000000
per citizen per month conservative
0.1
Penetration Rate
0.15 |  |  | Year 10: 284733000
Population Served
4000000
per citizen per month aggressive
0.25
15 year cost
Total Costs of Public Network and other Tech to do what Tropos does | 284733000
Minimal Deployment | 106153200